| LOGO | FIRE RISK ASSESSMENT FORM | RA Form |
| --- | --- | --- |

St George’s Cricket Club

Church Road

St George’s

Telford

TF2 9LU

Tel: 01952 612911

07847 358735 Mike Waldron (Secretary)

| Floor/Area/Room No |  | Groundsmens’ shed C150 sq mtrs of metal on brick |  |  |  |  | Reference No |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Use |  | Storage of mechanically propelled machinery, strimmers and associated fuels plus paint and thinners and miscellaneous materials. |  |  |  |  |  |  |  |  |  |
| Assessor | Ashley Smith |  |  |  | Supervisor |  |  |  |  |  |  |
|  | Signed |  |  |  |  |  |  |  |  |  |  |
| Sheet Number |  |  |  |  | Date of Assessment |  |  |  | 21/02/2025 |  |  |
| Persons at risk |  | Volunteers, with slight risk to members of the public. |  |  |  |  |  |  |  |  |  |
| Identify The Fire Hazards |  |  |  |  |  |  |  |  |  |  |  |
| Sources of ignition |  |  |  | Sources of Fuel |  |  |  | Sources of Oxygen |  |  |  |
| Fixed electrical systems |  |  |  | Diesel fuel |  |  |  | None |  |  |  |
| Lighting |  |  |  | Petrol |  |  |  |  |  |  |  |
| Portable electrical items |  |  |  | Paint |  |  |  |  |  |  |  |
| Motorised equipment |  |  |  | Thinners |  |  |  |  |  |  |  |
| Arson |  |  |  |  |  |  |  |  |  |  |  |
| Evaluate the Risk of the Fire Starting |  |  | Evaluate the Risk to people |  |  | Remove or Reduce the Hazards that might start a Fire |  |  |  | Remove or Reduce the risks to people from fire |  |
| Low. The fixed electrical systems and PAT are up to date. Building is made of inert materials. Fuel is kept in appropriate containers. The doors are roller shutters and are alarmed. There are no windows. Keys are held by nominated persons only. No smoking is permitted. |  |  | Low. When persons are in the buildings, one or all of the roller shutter doors are fully open. No person is further than 8 metres from an exit. Risk of explosion is low. Fuels are kept in appropriate containers and dispensing of fuel and use of thinners should be done in the open. |  |  | Fuel is stored appropriately. Stocks of paint and thinners are kept to a minimum. The shed is cleared of unwanted materials on a regular basis. |  |  |  |  |  |
| Further Action Required |  |  |  |  |  | By When? |  |  |  | Responsibility |  |
| Continue to clear unwanted items from building. |  |  |  |  |  | Ongoing |  |  |  | All ‍️ |  |
| Risk Assessment Comments |  |  |  |  |  |  |  |  |  |  |  |
| The risk of a fire starting is LOW. Volunteers must be regularly reminded to dispense fuel outside and to use thinners and paint outside where possible. |  |  |  |  |  |  |  |  |  |  |  |

| LOGO | FIRE RISK ASSESSMENT FORM | RA/F4 |
| --- | --- | --- |

| LOGO | FIRE CHECK LIST | EHS/F5 |
| --- | --- | --- |

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Daily checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Can all fire exits be opened immediately and easily? |  |  | X |  |
| Are fire doors clear of obstructions? |  |  | X |  |
| Are escape routes clear? | X |  |  | Checked on use |
| Fire warning systems |  |  |  |  |
| Is the indicator panel showing “normal”? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Are luminaries and exit signs in good condition and undamaged? |  |  | X |  |
| Fire fighting Equipment |  |  |  |  |
| Are all extinguishers in place? | X |  |  |  |
| Are fire extinguishers clearly visible? | X |  |  |  |
| Are vehicles blocking fire hydrants or access to them? |  |  | X |  |
| Weekly checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Do all emergency fastening devices to fire exits (push bars and pads etc) work correctly? |  |  | X |  |
| Are external routes clear and safe? | X |  |  |  |
| Fire warning systems |  |  |  |  |
| Does testing a manual call point send a signal to the indicator panel? (Disconnect the link to the receiving centre or tell them you are performing a test) |  |  | X |  |
| Did the alarm system work correctly when tested? |  |  | X |  |
| Did staff and other people hear the fire alarm? |  |  | X |  |
| Did any linked fire protection systems operate correctly?(e.g. magnetic door holder released, smoke curtains drop) |  |  | X |  |
| Escape lighting |  |  |  |  |
| Are charging indicators (if fitted) visible? |  |  | X |  |
| Fire fighting equipment |  |  |  |  |
| Is all equipment in good condition? | X |  |  |  |
| Additional items from manufacturers recommendations. |  |  | X |  |
| Monthly checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Do all electronic release mechanisms on escape doors work correctly? |  |  | X |  |
| Are fire door seals and self closing devices in good condition? |  |  | X |  |
| Do all internal self closing fire doors work correctly? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Do all luminaries and exit signs function correctly when tested? |  |  | X |  |
| Fire fighting equipment |  |  |  |  |
| Is the pressure in ‘stored pressure’ extinguishers correct? | X |  |  |  |
| Are the cylinders in good condition? | X |  |  |  |
| Six monthly checks |  |  |  |  |
| General |  |  |  |  |
| Has the system been checked and maintained by a competent person (Usually ADT)? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Do all luminaries operate on test for one third of their rated value? |  |  | X |  |
| Additional checks from manufacturers recommendations. |  |  | X |  |
| Annual Checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Do all self closing doors fit correctly? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Do all luminaries operate on test for their full rated duration? |  |  | X |  |
| Has the system been checked by a competent person? |  |  | X |  |
| Fire fighting equipment |  |  |  |  |
| Has all fire fighting equipment been checked by a competent person? | X |  |  |  |
| Miscellaneous |  |  |  |  |