Fire Risk Assessment – Cricket – Old Pavillion

St George’s Cricket Club, Church Road, St Georges, Telford  TF2 9LU

Tel: 01952 612911  Mobile: 07890 326679 Paul Taylor (Chairman)

07847 358735 Mike Waldron (Secretary)

| Floor/Area/Room No |  | Old Pavilion |  |  |  |  | Reference No |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Use |  | Two changing rooms and associated showers and toilets used for cricket and hockey. An umpires room and three storage areas. Used on occasion as a Polling Station. |  |  |  |  |  |  |  |  |  |
| Assessor | Ashley Smith |  |  |  | Supervisor |  |  |  |  |  |  |
|  | Signed |  |  |  |  |  |  |  |  |  |  |
| Sheet Number |  |  |  |  | Date of Assessment |  |  |  | 02/02/20258 |  |  |
| Persons at risk |  | Volunteers and visiting teams and umpires, with slight risk to members of the public and vehicles parked nearby. |  |  |  |  |  |  |  |  |  |
| Identify The Fire Hazards |  |  |  |  |  |  |  |  |  |  |  |
| Sources of ignition |  |  |  | Sources of Fuel |  |  |  | Sources of Oxygen |  |  |  |
| Fixed electrical systems |  |  |  | None |  |  |  | Atmosphere |  |  |  |
| Lighting |  |  |  |  |  |  |  |  |  |  |  |
| Arson |  |  |  |  |  |  |  |  |  |  |  |
| Portable electrical equipment – vacuum cleaner. |  |  |  |  |  |  |  |  |  |  |  |
| Evaluate the Risk of the Fire Starting |  |  | Evaluate the Risk to people |  |  | Remove or Reduce the Hazards that might start a Fire |  |  |  | Remove or Reduce the risks to people from fire |  |
| Low. The fixed electrical systems and portable appliances are checked annually by Penguin. No smoking is permitted. There are no portable heaters. The premises are accessible from the front only, the other walls have no windows. The front is floodlit until late evening and is covered by CCTV. |  |  | Low. The likelihood of a fire starting whilst people are in the building is very low and emergency exits are within four metres of all persons. |  |  | There are no obvious fire hazards. |  |  |  | There currently two 19kg propane cylinders which MUST BE REMOVED AND STORED APPROPRIATELY. The pavilion is cleaned weekly by an employee of the social club with an instruction that there must be no clothing or equipment left in the building in order to keep all accesses clear. |  |

| Further Action Required | By When? | Responsibility |
| --- | --- | --- |
| Check for PAT testing. Check for documents relating to NIECC testing. REMOVE PROPANE CYLINDERS AND STORE APPROPRIATELY. | All these done, documents up to date and reminder system in place. | Ashley Smith |
| Risk Assessment Comments |  |  |
| The risk of a fire starting is LOW. Electrical inspections and PAT testing has been arranged and relevant documents in place |  |  |

| Date of Review | Comments/Significant revisions/Actions |
| --- | --- |
| Year 1 – May 2024 – P Taylor | Propane Cylinder removal from building still outstanding PAT & NIECC documents have been collated |
| Year 2 – Feb 2025 | Gas cylinders have been removed |
| Year 3 - |  |
| Year 4 - |  |
| Year 5 – Complete new Risk Assessment |  |

FIRE RISK ASSESSMENT FORM

FIRE CHECK LIST

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Daily checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Can all fire exits be opened immediately and easily? |  |  | X |  |
| Are fire doors clear of obstructions? |  |  | X |  |
| Are escape routes clear? | Y |  |  | Checked on use |
| Fire warning systems |  |  |  |  |
| Is the indicator panel showing “normal”? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Are luminaries and exit signs in good condition and undamaged? | Y |  |  |  |
| Fire fighting Equipment |  |  |  |  |
| Are all extinguishers in place? | Y |  |  |  |
| Are fire extinguishers clearly visible? | Y |  |  |  |
| Are vehicles blocking fire hydrants or access to them? |  |  | X |  |
| Weekly checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Do all emergency fastening devices to fire exits (push bars and pads etc) work correctly? |  |  | X |  |
| Are external routes clear and safe? | Y |  |  |  |
| Fire warning systems |  |  |  |  |
| Does testing a manual call point send a signal to the indicator panel? (Disconnect the link to the receiving centre or tell them you are performing a test) |  |  | X |  |
| Did the alarm system work correctly when tested? |  |  | X |  |
| Did staff and other people hear the fire alarm? |  |  | X |  |
| Did any linked fire protection systems operate correctly?(e.g. magnetic door holder released, smoke curtains drop) |  |  | X |  |
| Escape lighting |  |  |  |  |
| Are charging indicators (if fitted) visible? | Y |  |  |  |
| Fire fighting equipment |  |  |  |  |
| Is all equipment in good condition? | Y |  |  |  |
| Additional items from manufacturers recommendations. |  |  | X |  |
| Monthly checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Do all electronic release mechanisms on escape doors work correctly? |  |  | X |  |
| Are fire door seals and self closing devices in good condition? |  |  | X |  |
| Do all internal self closing fire doors work correctly? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Do all luminaries and exit signs function correctly when tested? | Y |  |  |  |
| Fire fighting equipment |  |  |  |  |
| Is the pressure in ‘stored pressure’ extinguishers correct? | Y |  |  |  |
| Are the cylinders in good condition? | Y |  |  |  |
| Six monthly checks |  |  |  |  |
| General |  |  |  |  |
| Has the system been checked and maintained by a competent person (Usually ADT)? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Do all luminaries operate on test for one third of their rated value? | Y |  |  |  |
| Additional checks from manufacturers recommendations. |  |  |  |  |
| Annual Checks |  |  |  |  |
| Escape routes |  |  |  |  |
| Do all self closing doors fit correctly? |  |  | X |  |
| Escape lighting |  |  |  |  |
| Do all luminaries operate on test for their full rated duration? |  | X |  |  |
| Has the system been checked by a competent person? |  | X |  |  |
| Fire fighting equipment |  |  |  |  |
| Has all fire fighting equipment been checked by a competent person? | Y |  |  |  |
| Miscellaneous |  |  |  |  |